|  |  |  | Provisions for the execution of excavation works |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| _______________________________________________________________________ No. K163 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Excavation work permit No. _____________________ |  |  |  |  |  |  |  |  |  |  |
| 1. General Provisions |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.1. These Provisions apply to the execution of excavation works at the facilities of the CHPP Technical Management of Latvenergo AS, during the construction of new facilities, emergency response, restoration and reconstruction works. |  |  |  |  |  |  |  |  |  |  |  |  |  | “___” ____________ 20__ |  |  |  |  |  |  |  |  |  |  |  |
| 1.2. All organisations, limited liability companies, individual companies and individuals shall follow and comply with these Provisions. |  |  |  |  |  |  |  |  |  |  |  |  |  | Issued___________________________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |
| 1.3. When performing all excavation works at the facilities of the CHPP Technical Management of Latvenergo AS, the contractor shall obtain an excavation work permit for the specific combined heat and power plant and shall coordinate it with all authorities and units indicated in or specified in the excavation work permit. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.4. Only hand excavation of the topsoil up to a depth of 30 cm may be carried out without an excavation work permit. |  |  |  |  |  |  |  |  |  |  |  |  |  | Responsible person: ___________________________________________________________________________________________ (name, surname, position, personal identity number, telephone No.) |  |  |  |  |  |  |  |  |  |  |  |
| 1.6. The excavation permit shall be obtained from the CHPP Technical Management of Latvenergo AS at the relevant site 2 (two) days prior to the commencement of the works and the day prior to the commencement of the works all necessary approvals shall be completed. |  |  |  |  |  |  |  |  |  |  |  |  |  | Excavation location: ______________________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |
| 1.6. “The excavation work permit shall be accompanied by an annex sketching the excavation site with a reference on the topographical plan, indicating the distances in metres, the direction of excavation, the depth and the length of the route. |  |  |  |  |  |  |  |  |  |  |  |  |  | Works to be performed: ______________________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |
| 1.7. “An annex to the excavation work permit shall include a sketch of the excavation site with a reference to trees, existing buildings, structures and other permanent objects, indicating distances in metres, direction of excavation and length of the route, if possible. |  |  |  |  |  |  |  |  |  |  |  |  |  | Project approved: ____________________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |
| 1.8. The person responsible for carrying out the works shall carry out the works on or in the close proximity of streets, roads (which may affect traffic safety) in accordance with the requirements of Cabinet Regulation No. 421 adopted on 2 October 2001 “Regulations on the Equipment of Work Sites on Roads”. If the excavation works involve changes in road traffic (traffic is interrupted or rerouted), the applicant for the earth-moving permit shall bear the cost of posting information on social media. |  |  |  |  |  |  |  |  |  |  |  |  |  | Warranty obligations |  |  |  |  |  |  |  |  |  |  |  |
| 1.9. The person responsible for the works must ensure compliance with the regulatory requirements when carrying out excavation works. |  |  |  |  |  |  |  |  |  |  |  |  |  | 1. I, the contractor ___________________________________________________________________________________ (name of legal entity, reg. No.) |  |  |  |  |  |  |  |  |  |  |  |
| 2. Execution of excavation works: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.1. Excavation works may only commence after obtaining approvals from the maintenance organisations and units of all underground utilities. |  |  |  |  |  |  |  |  |  |  |  |  |  | Responsible person: ___________________________________________________________________________________ (name, surname, personal identity number) |  |  |  |  |  |  |  |  |  |  |  |
| 2.2. Underground utilities shall be excavated by hand in the presence of a representative of the operating organisation, in compliance with the requirements for the operation, labour protection, fire safety requirements, environmental protection and other laws and regulations of the relevant utilities and facilities. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.3. The person responsible for the execution of the works shall be responsible for the preservation of the exposed utilities during the execution of the works. |  |  |  |  |  |  |  |  |  |  |  |  |  | On the basis of the agreement/No. _______________ from _________ ______________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |
| 2.4. The person responsible for the execution of the works shall ensure that the places where excavation works are carried out on the streets and in their immediate vicinity are marked in accordance with the requirements of the normative documents. If necessary, install pedestrian bridges. |  |  |  |  |  |  |  |  |  |  |  |  |  | I guarantee: |  |  |  |  |  |  |  |  |  |  |  |
| 2.5. When carrying out excavation works, it is prohibited to cover aboveground utilities, their location signs, geodetic points, manhole covers, gullies, switchboards, trees, bushes, greenery, etc. with soil. |  |  |  |  |  |  |  |  |  |  |  |  |  | the main works will be carried out from __ ____________ 20__ to ___ ______________ 20__; |  |  |  |  |  |  |  |  |  |  |  |
| 2.6. If underground utilities not shown on the topographical plan are found during excavation, the work shall be stopped immediately. The contractor must take all possible measures to protect the underground utilities against damage and shall immediately invite Employer's representative to the site of the works. |  |  |  |  |  |  |  |  |  |  |  |  |  | the topsoil will be restored by __ ___________________ 20___. |  |  |  |  |  |  |  |  |  |  |  |
| 2.7. The backfilling of the excavated trenches shall be carried out with drainage sand in layers no thicker than 0.2 m, with each layer being carefully compacted: the density of the sand shall not be less than 0.95 of the natural density. Backfilled trenches in streets, roads and areas shall be maintained in a condition ensuring the safety of traffic and pedestrian movement until the surface is restored. 2.8. The excavation work permit shall be kept on site at all times during the execution of the works by the contractor and recorded in the ELDIS system. 2.9. The excavation work permit shall be extended once for a period not exceeding the duration of the works as originally agreed. The completion of the excavation work permit issued shall be carried out by inviting the permit issuer and showing the site of the excavation work. The original of the completed excavation work permit shall be kept with the permit issuer. |  |  |  |  |  |  |  |  |  |  |  |  |  | The lawn will be restored by ___ ___________________ 20___. |  |  |  |  |  |  |  |  |  |  |  |
| 3. Emergency works: |  |  |  |  |  |  |  |  |  |  |  |  |  |  | We will restore the surface of the road, square, pavement in the case that it is damaged; we will restore it with our own efforts |  |  |  |  |  |  |  |  |  |  |
| 3.1. Emergency works shall be organised by the legal entities in charge of the utilities. Excavation works permits for emergency work shall be issued for a period not exceeding 10 calendar days. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3.2. Emergency work on underground utilities shall be started immediately and carried out within the shortest possible time, observing the provisions for the protection of other utilities. The Head of the respective plant of the CHPP Technical Management shall be notified immediately of the emergency. |  |  |  |  |  |  |  |  |  |  |  |  |  | by ___ __________________ 20___. ___ _________ 2022 _____________________________________________________________________ (signature of the responsible person) |  |  |  |  |  |  |  |  |  |  |  |
| 3.3. The emergency shall be eliminated and the trenches and pits shall be filled in. The street, square or pavement shall be re-surfaced immediately after the completion of the emergency work, in accordance with the requirements of these Provisions. |  |  |  |  |  |  |  |  |  |  |  |  |  | We will restore the surface of the road, square, pavement in the case that it is damaged; we will restore it with our own efforts (name of legal entity, reg. No.) |  |  |  |  |  |  |  |  |  |  |  |
| 3.4. Emergency work sites shall be equipped in accordance with the requirements of the laws and regulations. |  |  |  |  |  |  |  |  |  |  |  |  |  | Responsible person: _____________________________________________________ Telephone _________________ |  |  |  |  |  |  |  |  |  |  |  |
| 3.5. It is forbidden to carry out new construction or planned repairs on utilities by assigning these works as emergency works. |  |  |  |  |  |  |  |  |  |  |  |  |  | (position, name, surname, personal identity number) |  |  |  |  |  |  |  |  |  |  |  |
| 4. Warranties for the restoration of roads, squares, footpaths: |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ______ _______________ 20___ concluded Agreement No. ____________ for the renewal of the road, |  |  |  |  |  |  |  |  |  |  |
| 4.1. If, within the warranty period specified in the agreement, the excavation site becomes deformed after it has been handed over, the contractor shall restore the excavation site at his/her own expense, in accordance with the prescribed technology. |  |  |  |  |  |  |  |  |  |  |  |  |  | street carriageway ____ m2, including asphalt concrete pavement ____ m2 by ___________________ 20_. |  |  |  |  |  |  |  |  |  |  |  |
| 4.2. If, after the restoration of the street surface within the warranty period specified in the agreement, the surface becomes deformed (the maximum gap between the 3 m levelling staff and the restored surface exceeds 10 mm), the street surface shall be restored immediately at the expense of the organisation which carried out the construction, reconstruction or restoration of the utility lines. |  |  |  |  |  |  |  |  |  |  |  |  |  | We will restore the road surface again in ______________________________ 20___. |  |  |  |  |  |  |  |  |  |  |  |
| 4.3. Representatives of the plants of the CHPP Technical Management of Latvenergo AS are entitled to carry out laboratory tests of backfilled trenches and restored street surfaces. If the laboratory test report reveals that the construction or material of the street surface does not comply with the requirements specified in the laws and regulations, the work shall not be deemed to be completed. All costs associated with the performance of the laboratory tests and the correction of defects at the specific excavation site shall be borne by the contractor. I have read the Provisions: _________________________ (signature, printed name) |  |  |  |  |  |  |  |  |  |  |  |  |  | _____________________ 20______ ____________________________________________ (signature, printed name) |  |  |  |  |  |  |  |  |  |  |  |
| AGREED |  |  |  |  |  |  |  |  |  |  |  |  |  |  | EXCAVATION WORKS SITE, SKETCH AND REFERENCE |  |  |  |  |  |  |  |  |  |  |
| TET SIA. (Signature, printed name). |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Notes: |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - The excavation works shall be carried out in the allotted land section in accordance with Annex No. ___. |  |  |  |  |  |  |  |  |  |
| Sadales tīkls AS. (Signature, printed name). |  |  |  | - Coordinate excavation work permit with: |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - _____________________________________________________________ |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - _____________________________________________________________ |  |  |  |  |  |  |  |  |  |
| GASO AS. (Signature, printed name). |  |  |  | - _____________________________________________________________ |  |  |  |  |  |  |  |  |  |
| Latvijas valsts ceļi VAS. (Signature, printed name). Rīgas siltums AS. (Signature, printed name). |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Excavation works are permitted |  |  |  | from __ ____________ 20__ |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | until __ ___________ 20__. |  |  |  |  |  |
| State Fire and Rescue Service. (Signature, printed name). |  |  |  | Head of Riga CHPP-__ |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | (Signature, printed name) |  |  |  |  |  |  |
| Water supply company. (Signature, printed name). Augstsprieguma tīkls AS. (Signature, printed name). |  |  |  | The permit for excavation works has been extended until 20__. |  |  |  |  |  |  |  | . |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Employee in charge of the plant |  |  |  |  |  |  |  |  |  |
| Land owner: _________________ plot of land, ____________________ _________________, ___________________, Land cadastral No. _____________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | (Signature, printed name) |  |  |  |  |  |  |
| Generation Equipment maintenance Service of Riga CHPP-__. (Signature, printed name). (Signature, printed name). (Signature, printed name). (Signature, printed name). Equipment repair contractor. (Signature, printed name). Construction site contractor. (Signature, printed name). |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Work HANDED OVER BY: |  |  |  |  |  |  | Work ACCEPTED BY: |  |  |