Annex 3

# DEED

on …………………………………………………………………………………………

/Name of the agreement/project/

readiness for operation prior to the start of the trial run

…………………………………

/Place /

…………………………………

/Date /

EMPLOYER:	Latvenergo AS

CONTRACTOR:			……………………

AGREEMENT DATA: ……………………. (date), No. ..............................

| ## Chair of the commission - | ## ........................................ /position/ | ## .............................................. /Name and surname/ |
| --- | --- | --- |
| ## Members of the commission - | ## ........................................ /position/ | ## .............................................. /Name and surname/ |
|  | ## ........................................ /position/ | ## .............................................. /Name and surname/ |
|  | ## ........................................ /position/ | ## .............................................. /Name and surname/ |
|  | ## ........................................ /position/ | ## .............................................. /Name and surname/ |
| ## Contractor's representative | ## ........................................ /position/ | ## .............................................. /Name and surname/ |

The commission appointed in accordance with procedure K172 “Procedure for acceptance of services received, construction works performed and repair works carried out under the HPP and the CHPP Technical Management”

The commission inspected _____________________________________ and found:

- Contractor's responsible person 	……………………….

- The Employer's project manager	……………………….

- The Employer's technical supervisor(s)	………………………..

- Author supervisor	.……………………….

- Main parameters of the facility 					……………………………

……………………………………………………………………………………………………………………………………………………………………………………………………

- The main works carried out during the execution of the contract/works/phase were:

  - ……………………………………………………..	………		….…..

/Name of the work/	/Unit of measure/	/Scope/

  - ……………………………………………………..	………		….…..

  - ……………………………………………………..	……… 		………

  - …………………………………………………….

- Documentation submitted:

  - ……………………………………………………..	………

/Name of the document/	/number/

7.2.…………………………………………………….	………

7.3.…………………………………………………….	………

7.4.…………………………………………………….	………

The commission decided:

____ ______________ 20____ start __________________________trial tests, operating

______________________________ (specify the requirements for inspections)

Start commissioning of _____________________ by operating ______________________ (requirements for commissioning to be specified)

(e.g., according to the dispatcher's schedule, operating the unit for 72 hours at its rated load, performing at least 3 automatic transfers between modes and at least 3 automatic starts and stops, etc.)

This document is coordinated in the Latvenergo AS document management system ELDIS ____________________(date) Identifier: _________________________________,

document registration No____________________

Employer’s representative(s):

_________________________________________________

(amats, vārds uzvārds)

Contractor’s representative(s):

_________________________________________________

(amats, vārds uzvārds)