- Composition of as-built documentation (if applicable)

- Table of contents of the volume

- Description of completed construction works

- Handover-acceptance acts of completed construction works

- Protocols of material and equipment inspections

- Declarations of performance and conformity of materials

- As-built drawings and measurements

- Certificates and logbook of construction waste disposal

- Construction project / engineering systems project / technical solution

- Building permit

- Work execution project

- Construction work logbook

- Defect reports (if any)

- Meeting minutes

- Other specific documents, such as steel structure certificates, operating instructions, installation acts, etc.